Operation period Geological Problems of Hydropower Plants in Nepal

SUNIL RAJ PAUDEL

Sunil.paudel@nea.org .np

ABSTRACT: Nepal has diversified, complex and active nature of geology. Due to the collision of Indian plate and Tibetan plate, rise of Himalaya is continues. On the other hand, as being the owner of 2nd largest water resources, it is focusing on hydropower. So Nepal is focusing on rise of its economy through the generation of Hydropower.  Up to date, Nepal Electricity authority (NEA) owns the major part of total generated hydro energy. At the same time NEA is facing different types of operational period geological problems. Kaligandaki A (144MW), Nepal’s largest Hydropower plant is facing reservoir sedimentation, slope instability due to toe cutting and Turbine corrosion problems. Middle Marshyangdi (70MW), Nepal’s 2nd largest Hydropower plant is facing sedimentation, Dam and spillway concrete damage and souring. Similarly, Puwakhola (6 MW) of Ilam is facing settlement and translation of the anchor and saddle blocks in the middle part of the penstock between Anchor Block. Other Hydropower plats are owned by NEA has also facing different geological problems.  To overcome Geological and hydrological risks in hydropower problems, it needs to appropriate understanding of geology and sediment flow data should be based on sound field research as public and private corporate houses are focusing on hydropower plant